Grading Criteria

Patient Centered Care

- Introduce yourself to the patient and wear gloves.

- Inform the patient of cold gel before application.

- Warn the patient of pressure when applying the probe for cardiac ultrasound.

Image Acquisition - [image modality / procedure]

- Probe selection – linear probe

- Depth – Able to visualize up to 1cm of muscle underneath subcutaneous tissue

- Gain – Appropriate where muscle appears hypoechoic and fascial planes hyperechoic

- Quality – Able to visualize subcutaneous tissue, fascial plane, and muscle

Image Interpretation - [image modality / procedure]

- Anatomy - Appropriately identifies skin / dermis layer

- Anatomy - Appropriately identifies subcutaneous / fat layer

- Anatomy - Appropriately identifies muscle

- Advanced Anatomy - Appropriately identifies fascial plane

- Application - Appropriately identifies thickened dermal / skin layer

- Application – Appropriately identifies thickened subcutaneous layer / “cobblestone” pattern

- Application - Appropriately suggests treatment with oral antibiotics and discharge